## well_data
| Date | Time | Lat | Lon | Elev, top of | Well casing | Elev at | Sensor cable | Sensor | Remarks
Well ID |  |  |  |  | well casing, m | height, m | grade, m | length (SCL, m) | elevation, m
SHKc | 1998-08-11 |  | 34.9588 | -106.6828 | 1496.8499 | 0.57 | 1496.2799 |  |  | Well installed. GPS, elev from Mar 2002 survey.
| 1999-04-27 | 1430 | [5 empty] | 3.576 | 1493.2739 | EEI PT installed.
| 2002-03-20 | 0000 |  |  | 1496.8249 | 0.545 |  | 3.53 | 1493.2949 | Well vandalized, PT removed 12/7/01. Replaced 3/19/02, new CH.
| 2005-06-01 | 1200 | [5 empty] | 3.06 | 1493.7649 | High WTs above sensor range expected, PT elevated.
| 2005-07-14 | 1330 | [5 empty] | 3.53 | 1493.2949 | PT returned to previous elev.
| 2006-01-20 | 1330 |  |  | 1496.8569 | 0.577 |  | 3.49 | 1493.3669 | EEI PT replaced w/Solinst LGR. New CH, SCL.
| 2006-06-27 | 1130 |  |  | 1496.8179 | 0.538 |  | 3.638 | 1493.1799 | Fire at site. Well casing rebuilt, new CH, SCL.
| 2012-05-03 | 1030 |  |  | 1496.812 | 0.532 |  | 3.638 | 1493.174 | WHU installed on well.
SHKw | 1998-08-11 |  | 34.9588 | -106.6833 | 1496.2792 | 0.305 | 1495.9742 |  |  | Well installed. GPS, elev from Mar 2002 survey.
| 2000-03-16 | 1400 | [5 empty] | 2.963 | 1493.3162 | EEI PT installed. Removed 11/14/00.
| 2001-03-16 | 0000 | [5 empty] | 2.86 | 1493.4192 | EEI PT installed, new SCL. Removed 12/5/01.
| 2002-03-20 | 0000 |  |  | 1496.3042 | 0.33 |  | 2.81 | 1493.4942 | EEI PT installed, new CH, SCL.
| 2005-04-27 | 1130 |  |  | 1496.2012 | 0.227 |  | 2.855 | 1493.3462 | EEI PT replaced w/Solinst LGR. New CH, SCL.
SHKs | 1998-08-11 |  | 34.9584 | -106.683 | 1496.3811 | 0.345 | 1496.0361 |  |  | Well installed. GPS, elev from Mar 2002 survey.
| 2000-03-16 | 1100 | [5 empty] | 2.86 | 1493.5211 | EEI PT installed. Removed 11/14/00.
| 2001-03-16 | 0000 | [5 empty] | 2.855 | 1493.5261 | EEI PT installed, new SCL. Removed 12/5/01.
| 2002-03-20 | 0000 |  |  | 1496.3761 | 0.34 |  | 2.805 | 1493.5711 | EEI PT installed, new CH, SCL. Removed 12/18/02.
| 2003-03-28 | 0000 | [7 empty] | EEI PT installed.
| 2005-04-27 | 1100 |  |  | 1496.2951 | 0.259 |  | 2.98 | 1493.3151 | EEI PT replaced w/Solinst LGR. New CH, SCL.
| 2006-06-27 | 1200 |  |  | 1496.2481 | 0.212 |  | 3.064 | 1493.1841 | Fire at site. Well rebuilt, new CH, SCL. Should be re-surveyed.
SHKn | 1998-08-11 |  | 34.9591 | -106.6828 | 1496.1715 | 0.23 | 1495.9415 |  |  | Well installed. GPS, elev from Mar 2002 survey.
| Mar 02 |  |  |  | 1496.1615 | 0.22 |  |  |  | New CH w/survey.
| 2003-05-27 | 0900 |  |  | 1496.1265 | 0.185 |  | 2.91 | 1493.2165 | Solinst LGR installed, new CH.
| 2009-04-23 | [8 empty] | Well destroyed by City of ABQ after 4/23/09, not found.
SHKe | 1998-08-11 |  | 34.9587 | -106.6824 | 1496.424 | 0.31 | 1496.114 |  |  | Well installed. GPS, elev from Mar 2002 survey.
| Mar 02 |  |  |  | 1496.429 | 0.315 |  |  |  | New CH w/survey.
| 2003-09-10 | 0930 |  |  | 1496.364 | 0.25 |  | 3 | 1493.364 | Solinst LGR installed, new CH. Removed 1/20/06, replaced w/BLGR.
| 2006-06-27 |  |  |  | 1496.373 | 0.259 |  |  |  | Fire at site. Well casing rebuilt, new CH.
| Date | Time | Lat | Lon | Elev, top of | Well casing | Elev at | Sensor cable | Sensor | Remarks
Well ID |  |  |  |  | well casing, m | height, m | grade, m | length (SCL, m) | elevation, m
SEVc | 1998-06-17 |  | 34.2656 | -106.8678 | 1426.9819 | 0.29 | 1426.6919 |  |  | Well installed. GPS, elev from Mar 2002 survey.
| 1999-04-16 | 1530 | [5 empty] | 3.572 | 1423.4099 | EEI PT installed.
| 2002-03-18 | 1100 |  |  | 1426.9919 | 0.3 |  |  | 1423.4199 | New CH w/survey.
| 2005-04-25 | 1100 |  |  | 1426.9139 | 0.222 |  | 3.71 | 1423.2039 | EEI PT replaced w/Solinst LGR. New CH, SCL. Removed 3/22/07, failed.
| 2007-04-03 | 1200 | [5 empty] | 3.591 | 1423.3229 | Solinst LGR installed. New SCL, same CH. Removed 3/25/08, failed.
| 2008-03-25 | 1400 | [7 empty] | Solinst LGR failed, replaced w/different LGR. Same SCL, CH.
| 2008-05-06 | 1800 | [5 empty] | 3.643 | 1423.2709 | Solinst LGR failed, replaced w/SWS CDVR. New SCL, same CH.
| 2009-04-16 | 1530 | [5 empty] | 3.63 | 1423.2839 | Repaired SS support, new SCL.
| 2010-12-02 | 1200 | [5 empty] | 3.522 | 1423.3919 | SWS CDVR failed, replaced w/Solinst LGR. New SCL, same CH.
SEVe | 1998-06-17 |  | 34.2655 | -106.8674 | 1426.9074 | 0.35 | 1426.5574 |  |  | Well installed. GPS, elev from Mar 2002 survey.
| 1999-10-07 | 1500 | [5 empty] | 3.357 | 1423.5504 | EEI PT installed. Removed 12/16/99.
| 2000-03-14 | 1100 | [7 empty] | EEI PT installed. Removed 11/16/00.
| 2001-03-14 | 0000 | [5 empty] | 3.453 | 1423.4544 | EEI PT installed. New SCL. Removed 12/6/01.
| 2002-03-20 | 1200 |  |  | 1426.9124 | 0.355 |  | 3.355 | 1423.5574 | EEI PT installed. New CH w/survey. New SCL. Removed 5/22/03, failing.
| 2003-05-28 | 0000 |  |  | 1426.7024 | 0.145 |  | 3.535 | 1423.1674 | EEI PT replaced w/Solinst LGR. New CH, SCL. Removed 2/10/06, failed.
| 2006-02-23 | 1200 | [5 empty] | 3.376 | 1423.3264 | Solinst LGR installed, new SCL, same CH. Removed 5/6/08.
| 2008-05-06 | 1800 | [5 empty] | 3.398 | 1423.3044 | SWS CDVR installed, replaces Sol LGR. New SCL, same CH.
| 2009-05-20 | 1200 | [5 empty] | 3.293 | 1423.4094 | Repaired SS support, new SCL. CDVR removed 1/12/10, failed.
| 2010-01-25 | 1130 | [7 empty] | SWS CDVR installed, same SCL, CH.
| 2010-03-25 | 1330 | [5 empty] | 3.304 | 1423.3984 | SS cable replaced, new SCL.
SEVs | 1998-06-17 |  | 34.2653 | -106.8679 | 1427.3926 | 0.54 | 1426.8526 |  |  | Well installed. GPS, elev from Mar 2002 survey.
| 1999-10-07 | 1500 | [5 empty] | 3.36 | 1424.0326 | EEI PT installed. Removed 12/16/99.
| 2000-03-15 | 0000 | [7 empty] | EEI PT installed. Removed 11/16/00.
| 2001-03-16 | 0000 | [5 empty] | 3.513 | 1423.8796 | EEI PT installed. New SCL. Removed 12/6/01.
| 2002-03-20 | 1200 |  |  | 1427.4176 | 0.565 |  |  | 1423.9046 | EEI PT installed. New CH w/survey, same SCL. Removed 12/16/02.
| 2003-03-21 | 1200 | [5 empty] | 3.6 | 1423.8176 | EEI PT installed. New SCL. Removed 10/29/03, SC chewed by coyote(?).
| 2003-11-05 | 1200 | [7 empty] | EEI PT installed. Same SCL, CH. Removed 2/10/06.
| 2006-02-10 | 1200 |  |  | 1427.4456 | 0.593 |  | 3.495 | 1423.9506 | Solinst LGR installed, new SCL, CH. Removed 5/6/08.
| 2008-05-06 | 1800 | [5 empty] | 3.813 | 1423.6326 | SWS MDVR installed, replaces Sol LGR. New SCL, same CH.
| 2010-01-25 | 1100 | [5 empty] | 3.705 | 1423.7406 | Failed SWS MDVR replaced w/different MDVR. New SCL, same CH.
SEVw | 1998-06-17 |  | 34.2657 | -106.8682 | 1426.9904 | 0.18 | 1426.8104 |  |  | Well installed. GPS, elev from Mar 2002 survey.
| 2003-09-10 | 1130 |  |  | 1427.0554 | 0.245 |  | 3.82 | 1423.2354 | Solinst LGR installed, new CH. Removed 3/25/08.
| 2008-05-06 | 1800 | [5 empty] | 3.705 | 1423.3504 | SWS MDVR installed, replaces Sol LGR. New SCL, same CH.
| 2010-01-25 | 1200 | [5 empty] | 3.648 | 1423.4074 | Sol LGR installed, replaces SWS MDVR. New SCL, same CH.
SEVn | 1998-06-15 |  | 34.2659 | -106.8677 | 1427.3127 | 0.35 | 1426.9627 |  |  | Well installed. GPS, elev from Mar 2002 survey.
| 2003-05-27 | 1200 |  |  | 1427.3227 | 0.36 |  | 3.91 | 1423.4127 | Solinst LGR installed, new CH. Removed 3/9/04, failed.
| 2004-03-11 | 1400 | [5 empty] | 3.76 | 1423.5627 | Solinst LGR failed, replaced w/different LGR. New SCL. Removed 4/25/05.
| 2005-04-27 | 1600 |  |  | 1427.3057 | 0.343 |  | 3.56 | 1423.7457 | EEI PT installed, replaces failed Sol LGR. New CH, SCL.
| 2006-02-10 | [8 empty] | EEI PT removed, SC chewed thru by coyote(?).
| Date | Time | Lat | Lon | Elev, top of | Well casing | Elev at | Sensor cable | Sensor | Remarks
Well ID |  |  |  |  | well casing, m | height, m | grade, m | length (SCL, m) | elevation, m
BDASc | 1998-07-09 |  | 33.7811 | -106.8772 | 1374.9437 | 1.515 | 1373.4287 |  |  | Well installed. GPS, elev from Mar 2002 survey.
| 1999-04-17 | 0000 | [5 empty] | 5.507 | 1369.4367 | EEI PT installed.
| 2002-03-21 | 1230 |  |  | 1374.9337 | 1.505 |  |  | 1369.4267 | New CH w/survey. EEI PT removed 4/20/05.
| 2005-04-20 | 1430 |  |  | 1374.9257 | 1.497 |  | 5.696 | 1369.2297 | EEI PT replaced w/Solinst LGR. New CH, SCL.
BDASn | 1998-07-09 |  | 33.7815 | -106.8771 | 1374.8205 | 1.3 | 1373.5205 |  |  | Well installed. GPS, elev from Mar 2002 survey.
| 1999-09-23 | 1130 | [5 empty] | 4.657 | 1370.1635 | EEI PT installed. Removed 12/16/99.
| 2000-03-28 | 1100 | [7 empty] | EEI PT installed. Removed 11/15/00.
| 2001-03-16 | 0000 | [7 empty] | EEI PT installed. Removed 12/6/01.
| 2002-03-23 | 0000 |  |  | 1374.8055 | 1.285 |  | 4.557 | 1370.2485 | EEI PT installed. New CH w/survey. New SCL.
| 2002-07-08 | 1400 | [5 empty] | 4.887 | 1369.9185 | PT lowered for drought, new SCL. Removed 12/11/02.
| 2003-03-23 | 0000 | [7 empty] | EEI PT installed. Removed 4/20/05.
| 2005-04-20 | 1500 |  |  | 1374.7905 | 1.27 |  | 4.933 | 1369.8575 | EEI PT replaced w/Solinst LGR. New CH, SCL.
BDASe | 1998-07-09 |  | 33.781 | -106.8768 | 1375.0698 | 1.59 | 1373.4798 |  |  | Well installed. GPS, elev from Mar 2002 survey.
| 1999-09-23 | 1100 | [5 empty] | 5 | 1370.0698 | EEI PT installed. Removed 12/16/99.
| 2000-03-28 | 1100 | [7 empty] | EEI PT installed. Removed 11/15/00.
| 2001-03-15 | 1530 | [5 empty] | 4.86 | 1370.2098 | EEI PT installed. New SCL. Removed 12/6/01.
| 2002-03-22 | 0000 |  |  | 1375.0448 | 1.565 |  | 4.757 | 1370.2878 | EEI PT installed. New CH w/survey. New SCL.
| 2002-07-08 | 1600 | [5 empty] | 5.257 | 1369.7878 | PT lowered for drought, new SCL. PT removed 9/21/04, failing.
| 2004-10-17 | 0000 | [5 empty] | 5.16 | 1369.8848 | EEI PT replaced w/different EEI PT. New SCL.
| 2005-06-10 | 0000 | [5 empty] | 4.36 | 1370.6848 | PT elevated for flood, new SCL.
| 2005-07-14 | 1400 | [5 empty] | 5.16 | 1369.8848 | PT lowered to prev SCL post- flood. Removed 2/23/06.
| 2006-02-23 | 1400 |  |  | 1374.9538 | 1.474 |  | 5.19 | 1369.7638 | EEI PT replaced w/Solinst LGR. New CH, SCL.
| 2007-10-03 | 1100 | [5 empty] | 5.16 | 1369.7938 | Replaced Direct Read Cable, new SCL.
BDASw | 1998-07-09 |  | 33.7813 | -106.8776 | 1374.6143 | 1.33 | 1373.2843 |  |  | Well installed. GPS, elev from Mar 2002 survey.
| Mar 02 |  |  |  | 1374.6043 | 1.34 |  |  |  | New CH w/survey.
| 2003-09-15 | 1030 |  |  | 1374.5793 | 1.315 |  | 4.905 | 1369.6743 | Solinst LGR installed, new CH.
BDASs | 1998-07-09 |  | 33.7808 | -106.8773 | 1374.5471 | 1.16 | 1373.3871 |  |  | Well installed. GPS, elev from Mar 2002 survey.
| Mar 02 |  |  |  | 1374.5321 | 1.145 |  |  |  | New CH w/survey.
| 2003-05-27 | 1330 |  |  | 1374.5421 | 1.155 |  | 4.88 | 1369.6621 | Solinst LGR installed, new CH.
| 2004-03-11 | 1100 | [5 empty] | 4.5 | 1370.0421 | LGR elevated, was at well bottom, new SCL. Removed 12/8/04.
| 2004-12-21 | 1500 | [5 empty] | 4.7 | 1369.8421 | Solinst LGR failed, replaced w/different LGR. New SCL. Removed 2/15/06.
| 2006-02-15 |  |  |  | 1374.5321 | 1.145 |  |  |  | Sol LGR removed, new CH.
| Date | Time | Lat | Lon | Elev, top of | Well casing | Elev at | Sensor cable | Sensor | Remarks
Well ID |  |  |  |  | well casing, m | height, m | grade, m | length (SCL, m) | elevation, m
BLNc | 2000-02-03 |  | 34.5901 | -106.7492 | 1458.4803 | 0.645 | 1457.8353 |  |  | Well installed. GPS, elev from Mar 2002 survey. Orig '98 well vandalized.
| 2000-03-15 | 1230 | [5 empty] | 2.86 | 1455.6203 | EEI PT installed.
| 2002-01-18 | 0000 |  |  | 1458.4853 | 0.65 |  |  | 1455.6253 | New CH w/survey. Removed 12/10/02.
| 2002-12-10 | 1600 | [5 empty] | 2.863 | 1455.6223 | EEI PT replaced w/different EEI PT. New SCL. PTs moved btw wells/sites.
| 2005-04-25 | 1600 | [5 empty] | 2.356 | 1456.1293 | PT elevated for flood, new SCL.
| 2005-05-24 | 1900 | [5 empty] | 1.956 | 1456.5293 | PT elevated for flood, new SCL.
| 2005-07-28 | 1630 | [5 empty] | 2.863 | 1455.6223 | PT lowered to pre-flood SCL. Removed 11/18/08.
BLNw | 1998-08-10 |  | 34.5902 | -106.7497 | 1459.1908 | 1.015 | 1458.1758 |  |  | Well installed. GPS, elev from Mar 2002 survey.
| 1999-04-27 | 1200 | [5 empty] | 3.589 | 1455.6018 | EEI PT installed.
| 1999-08-11 | 1530 | [5 empty] | 3.089 | 1456.1018 | PT elevated, new SCL.
| 1999-09-02 | 1230 |  |  | 1458.8408 | 0.665 |  | 3.04 | 1455.8008 | New CH & SCL.
| 2000-01-12 | 1200 | [5 empty] | 3.033 | 1455.8078 | New SCL. PT removed 11/13/00.
| 2001-03-16 | 0000 | [5 empty] | 2.605 | 1456.2358 | EEI PT installed, new SCL. Removed 11/28/01.
| 2002-03-16 | 0000 |  |  | 1458.8508 | 0.675 |  | 2.606 | 1456.2448 | New CH w/survey. New SCL. Removed 12/10/02.
| 2003-03-21 | 0000 | [5 empty] | 3.4 | 1455.4508 | EEI PT installed, new SCL.
| 2007-05-02 | 0000 |  |  | 1458.3178 | 0.142 |  | 2.76 | 1455.5578 | Damaged well casing repaired. New CH, SCL. Removed 11/18/08.
BLNs | 1998-08-10 |  | 34.5898 | -106.7493 | 1459.1402 | 0.885 | 1458.2552 |  |  | Well installed. GPS, elev from Mar 2002 survey.
| 2000-03-15 | 1600 |  |  | 1458.5302 | 0.275 |  | 2.505 | 1456.0252 | EEI PT installed. New CH. Removed 11/13/00.
| 2001-03-13 | 1000 | [5 empty] | 2.456 | 1456.0742 | EEI PT installed. New SCL. PT removed 11/28/01.
| 2002-03-16 | 0000 |  |  | 1458.5552 | 0.3 |  | 2.453 | 1456.1022 | EEI PT installed. New CH w/survey. New SCL.
| 2002-07-08 | 0930 | [5 empty] | 3.203 | 1455.3522 | PT lowered 80 cm, drought. New SCL.
| 2005-04-25 | 1600 | [5 empty] | 2.753 | 1455.8022 | PT elevated for flood, new SCL.
| 2005-05-24 | 1530 | [5 empty] | 2.603 | 1455.9522 | PT elevated for flood, new SCL.
| 2005-07-28 | 1230 | [5 empty] | 3.203 | 1455.3522 | PT lowered to pre-flood SCL. Removed 11/18/08.
BLNn | 1998-08-10 |  | 34.5905 | -106.7491 | 1458.4958 | 0.48 | 1458.0158 |  |  | Well installed. GPS, elev from Mar 2002 survey.
| Mar 02 |  |  |  | 1458.4908 | 0.475 |  |  |  | New CH w/survey.
| 2003-05-27 | 1030 |  |  | 1458.4208 | 0.405 |  | 3.055 | 1455.3658 | Solinst LGR installed, new CH. Removed 4/25/05.
| 2005-04-25 |  |  |  | 1458.2258 | 0.21 |  |  |  | New CH.
BLNe | 1998-08-10 |  | 34.5901 | -106.7488 | 1458.4432 | 0.415 | 1458.0282 |  |  | Well installed. GPS, elev from Mar 2002 survey.
| Mar 02 |  |  |  | 1458.4532 | 0.425 |  |  |  | New CH w/survey.
| 2003-09-17 | 1230 |  |  | 1458.3432 | 0.315 |  | 3.18 | 1455.1632 | Solinst LGR installed, new CH. Removed 4/25/05.
| 2005-04-25 |  |  |  | 1458.1672 | 0.139 |  |  |  | New CH.
| Date | Time | Lat | Lon | Elev, top of | Well casing | Elev at | Sensor cable | Sensor | Remarks
Well ID |  |  |  |  | well casing, m | height, m | grade, m | length (SCL, m) | elevation, m
RGNCc |  |  | 35.1268 | -106.6884 | 1516.2149 | 0.94 | 1515.2749 |  |  | Installed by BEMP, no data. CH 5/19/99.
| 1999-07-19 | 1800 | [5 empty] | 3.185 | 1513.0299 | EEI PT installed. Removed 12/14/99.
| 2000-04-01 | 0000 | [7 empty] | EEI PT installed. Removed 11/14/00.
| 2001-03-21 | 1000 | [5 empty] | 3.11 | 1513.1049 | EEI PT installed. New SCL. Removed 12/5/01.
| 2002-03-12 | 1230 |  |  | 1516.2399 | 0.965 |  | 3.109 | 1513.1309 | EEI PT installed. New CH w/survey. New SCL. Removed 9/6/02.
| 2002-12-18 | 1200 | [5 empty] | 3.91 | 1512.3299 | EEI PT installed. New SCL. Removed 11/21/05.
RGNCe |  |  | 35.1266 | -106.688 | 1516.267 | 1.004 | 1515.263 |  |  | Installed by BEMP, no data. CH 5/19/99.
| 1999-09-25 | 1430 | [5 empty] | 3.7 | 1512.567 | EEI PT installed. Removed 12/14/99. Raw data only.
| 2000-04-01 | 0000 |  |  | 1516.268 | 1.005 |  | 3.7 | 1512.568 | EEI PT installed. New CH. Removed 11/14/00.
| 2001-03-21 | 1000 | [5 empty] | 3.355 | 1512.913 | EEI PT installed. New SCL. Removed 12/5/01.
| 2002-03-27 | 0830 |  |  | 1516.338 | 1.075 |  | 3.51 | 1512.828 | EEI PT installed. New CH w/survey. New SCL. Removed 12/18/02.
RGNCn |  |  | 35.1271 | -106.6882 | 1516.3441 | 1.005 | 1515.3391 |  |  | Installed by BEMP, no data. Logger not deployed in this well. CH 5/19/99.
| Spr 02 |  |  |  | 1516.3691 | 1.03 |  |  |  | New CH w/survey.
RGNCw |  |  | 35.1269 | -106.6888 | 1516.3145 | 0.985 | 1515.3295 |  |  | Installed by BEMP, no data. Logger not deployed in this well. CH 5/19/99.
| Spr 02 |  |  |  | 1516.3245 | 0.995 |  |  |  | New CH w/survey.
RGNCs |  |  | 35.1264 | -106.6887 | 1516.3513 | 1.08 | 1515.2713 |  |  | Installed by BEMP, no data. Logger not deployed in this well. CH 5/19/99.
| Spr 02 |  |  |  | 1516.3413 | 1.07 |  |  |  | New CH w/survey.
LLc | [5 empty] | 0.23 |  |  |  | Installed by BEMP, no data. CH 6/30/99.
| 2000-04-12 |  | 34.8124 | -106.7145 | 1479.6161 | 0.19 | 1479.4261 |  |  | New well installed, prev vandalized. New location 6.9 m N. New CH.
| 2002-03-16 | 0000 | [5 empty] | 2.355 | 1477.2611 | EEI PT installed.
| 2004-09-21 | 1600 | [5 empty] | 2.555 | 1477.0611 | PT lowered 20 cm to max well depth, new SCL.
| 2005-05-04 | 0000 | [5 empty] | 1.45 | 1478.1661 | PT elevated for flood by JFS, new SCL.
| 2005-05-24 | 1430 | [5 empty] | 1.855 | 1477.7611 | PT lowered 40 cm post-flood, new SCL.
| 2005-07-29 | 0000 | [5 empty] | 2.555 | 1477.0611 | PT lowered to pre-flood SCL. Removed 1/20/06.
LLs |  |  | 34.812 | -106.7147 | 1479.386 | 0.28 | 1479.106 |  |  | Installed by BEMP, no data. CH 6/30/99.
| 1999-07-19 | 1200 | [5 empty] | 2.133 | 1477.253 | EEI PT installed.
| 1999-09-02 | 1100 | [5 empty] | 2.135 | 1477.251 | PT cable replaced, new SCL.
| 1999-10-13 | 1030 | [5 empty] | 2.653 | 1476.733 | EEI PT replaced w/different EEI PT. New SCL. Removed 12/14/99.
| 2000-03-16 | 0000 | [7 empty] | EEI PT installed. Removed 11/14/00.
| 2001-03-12 | 1100 | [5 empty] | 2.607 | 1476.779 | EEI PT installed. New SCL.
| 2001-05-24 | 0930 | [5 empty] | 2.107 | 1477.279 | PT elevated 50 cm for flood, new SCL. Removed 11/2/01, vandalized.
| Spr 02 |  |  |  | 1479.251 | 0.145 |  |  |  | New CH w/survey.
LLn | [5 empty] | 1.225 |  |  |  | Installed by BEMP, no data. CH 5/19/99.
| 1999-05-06 | 1130 | [5 empty] | 3.136 | n/a | EEI PT installed. Removed 6/24/99, vandalized. No elev data for this well.
| 1999-06-30 |  |  |  |  | 0.285 |  |  |  | New CH.
| 2000-04-12 |  | 34.8127 | -106.7143 | 1479.6254 | 0.19 | 1479.4354 |  |  | New well installed, prev vandalized. New location 6.5 m N. New CH.
| Spr 02 |  |  |  |  | 0.19 |  |  |  | Same CH w/survey.
LLe | [5 empty] | 0.25 |  |  |  | Installed by BEMP, no data. Logger not deployed in this well. CH 6/30/99.
| 2000-04-12 |  | 34.8122 | -106.7141 | 1479.8861 | 0.11 | 1479.7761 |  |  | New well installed, prev vandalized. New location 8.7 m N. New CH.
| Spr 02 |  |  |  | 1479.8811 | 0.105 |  |  |  | New CH w/survey.
LLw |  |  | 34.8125 | -106.7149 | 1479.4945 | 0.225 | 1479.2695 |  |  | Installed by BEMP, no data. Logger not deployed in this well. CH 6/30/99.
| 1999-10-13 |  |  |  | 1479.5095 | 0.24 |  |  |  | New CH.
| Spr 02 |  |  |  | 1479.4695 | 0.2 |  |  |  | New CH w/survey.
| Date | Time | Lat | Lon | Elev, top of | Well casing | Elev at | Sensor cable | Sensor | Remarks
Well ID |  |  |  |  | well casing, m | height, m | grade, m | length (SCL, m) | elevation, m
BDOc | 1998-08-19 |  | 34.4061 | -106.8031 | 1422.5357 | 0.6 | 1421.9357 |  |  | Well installed. GPS, elev from Mar 2002 survey.
| 1999-05-01 | 0000 |  |  |  | 0.6 |  | 3.578 | 1418.9577 | EEI PT installed. Removed 6/24/99, damaged.
| 1999-08-24 | 1330 |  |  | 1422.2557 | 0.32 |  | 3.26 | 1418.9957 | EEI PT installed. New CH, SCL. Removed 9/29/99, vandalized.
| Feb 02 |  |  |  | 1422.2707 | 0.335 |  |  |  | New CH w/survey.
BDOn | 1998-08-19 |  | 34.4065 | -106.8032 | 1422.6636 | 0.78 | 1421.8836 |  |  | Well installed. GPS, elev from Mar 2002 survey.
| 1999-08-24 |  |  |  | 1422.2136 | 0.33 |  |  |  | New CH.
| 2000-04-21 | 0000 | [5 empty] | 2.655 | 1419.5586 | EEI PT installed. Removed 11/13/00.
| 2001-03-21 | 1300 | [5 empty] | 2.603 | 1419.6106 | EEI PT installed. New SCL. Removed 12/5/01.
| 2002-03-09 | 0000 |  |  | 1422.2436 | 0.36 |  | 2.553 | 1419.6906 | EEI PT installed. New CH w/survey. New SCL. Removed 12/16/02.
BDOw | 1998-08-19 |  | 34.406 | -106.8035 | 1422.8404 | 1 | 1421.8404 |  |  | Well installed. GPS, elev from Mar 2002 survey.
| 1999-08-24 |  |  |  | 1422.1104 | 0.27 |  |  |  | New CH.
| 1999-10-07 | 1530 | [5 empty] | 2.706 | 1419.4044 | EEI PT installed. Removed 12/16/99. Raw data only.
| 2000-03-14 | 1400 | [7 empty] | EEI PT installed. Removed 11/13/00.
| 2001-03-15 | 0000 | [5 empty] | 2.655 | 1419.4554 | EEI PT installed. New SCL. Removed 12/5/01.
| 2002-03-09 | 0000 |  |  | 1422.1304 | 0.29 |  | 2.605 | 1419.5254 | EEI PT installed. New CH w/survey. New SCL. Removed 11/17/05.
BDOe | 1998-08-19 |  | 34.4062 | -106.8027 | 1423.0783 | 1.01 | 1422.0683 |  |  | Well installed. GPS, elev from Mar 2002 survey. Logger not deployed.
| 1999-11-18 |  |  |  | 1422.2833 | 0.215 |  |  |  | New CH.
| Feb 02 |  |  |  | 1422.2983 | 0.23 |  |  |  | New CH w/survey.
BDOs | 1998-08-19 |  | 34.4057 | -106.803 | 1423.1107 | 1.05 | 1422.0607 |  |  | Well installed. GPS, elev from Mar 2002 survey. Logger not deployed.
| 1999-11-18 |  |  |  | 1422.2307 | 0.17 |  |  |  | New CH.
| Feb 02 |  |  |  | 1422.2407 | 0.18 |  |  |  | New CH w/survey.
BDANc | 1998-07-01 |  | 33.7916 | -106.8745 | 1375.7676 | 1.51 | 1374.2576 |  |  | Well installed. GPS, elev from Mar 2002 survey.
| 1999-04-29 | 1200 | [5 empty] | 5.39 | 1370.3776 | EEI PT installed. Removed 12/16/99.
| 2000-03-28 | 1130 | [5 empty] | 5.2 | 1370.5676 | EEI PT installed. New SCL. Removed 11/15/00.
| 2001-03-16 | 0000 | [5 empty] | 5.055 | 1370.7126 | EEI PT installed. New SCL. Removed 12/6/01.
| 2002-03-22 | 0000 |  |  | 1375.7576 | 1.5 |  |  | 1370.7026 | EEI PT installed. New CH w/survey.
| 2002-07-08 | 1300 | [5 empty] | 5.465 | 1370.2926 | PT lowered for drought, new SCL. Removed 8/17/05, damaged.
| 2005-09-14 | 1530 | [5 empty] | 5.467 | 1370.2906 | EEI datalogger replaced. Same PT sensor, new SCL.
| 2006-02-15 | [8 empty] | EEI PT removed, failed.
BDANe | 1998-07-01 |  | 33.7916 | -106.8741 | 1375.7855 | 1.39 | 1374.3955 |  |  | Well installed. GPS, elev from Mar 2002 survey.
| 1999-10-07 | 1200 | [5 empty] | 4.617 | 1371.1685 | EEI PT installed. Removed 12/16/99.
| 2000-03-14 | 0000 | [7 empty] | EEI PT installed. Removed 11/15/00.
| 2001-03-17 | 0000 | [5 empty] | 4.607 | 1371.1785 | EEI PT installed. New SCL. Removed 12/6/01.
| 2002-03-21 | 1430 |  |  | 1375.7955 | 1.4 |  | 4.56 | 1371.2355 | EEI PT installed. New CH w/survey. New SCL.
| 2002-07-08 | 1400 | [5 empty] | 4.89 | 1370.9055 | PT lowered for drought, new SCL. Removed 7/26/02, failed. Raw data only.
| Aug 05 | [8 empty] | Well destroyed during BDA NWR clearing.
BDANn | 1998-07-01 |  | 33.7919 | -106.8744 | 1375.656 | 1.3 | 1374.356 |  |  | Well installed. GPS, elev from Mar 2002 survey. Logger not deployed.
| Mar 02 |  |  |  | 1375.691 | 1.335 |  |  |  | New CH w/survey.
BDANw | 1998-07-01 |  | 33.7916 | -106.8749 |  | 1.385 |  |  |  | Well installed. GPS, elev from Mar 2002 survey. Logger not deployed.
| Mar 02 |  |  |  | 1375.7549 | 1.415 | 1374.3399 |  |  | New CH w/survey.
BDANs | 1998-07-01 |  | 33.7912 | -106.8745 |  | 1.4 | 1374.3573 |  |  | Well installed. GPS, elev from Mar 2002 survey. Logger not deployed.
| Mar 02 |  |  |  | 1375.7573 |  |  |  |  | Same CH w/survey.
| Aug 05 | [8 empty] | Well destroyed during BDA NWR clearing, Aug 05.
LARO wells not surveyed. Use data for relative water table fluctuations
only. GPS data from Garmin E-Trex Vista, collected 2/24/03, WGS84.
GPS data not post-processed.
LAROc | 2003-03-06 |  | 34.3471 | -106.859 |  | 1.52 |  |  |  | Well installed. Approx elev. at CH 1435 m.
| 2003-04-16 | 1100 |  |  |  | 1.6 |  | 3.58 |  | Solinst LGR installed, new CH.
| 2009-07-14 | 0830 | [5 empty] | 3.45 |  | Replaced failed cable, new SCL. Sol LGR Removed 1/12/10.
LAROn | 2003-03-10 |  | 34.3475 | -106.859 |  | 1.55 |  |  |  | Well installed. Approx elev. at CH 1435 m.
| 2003-04-16 | 1330 |  |  |  | 1.635 |  | 3.67 |  | Solinst LGR installed, new CH. Removed 1/12/10.
LAROe | 2003-03-10 |  | 34.3471 | -106.8585 |  | 1.235 |  |  |  | Well installed. Approx elev. at CH 1435 m.
| 2003-04-16 | 1200 |  |  |  | 1.31 |  | 3.55 |  | Solinst LGR installed, new CH. Removed 1/11/05.
| 2005-01-21 | 1200 |  |  |  | 1.33 |  | 3.4 |  | Solinst LGR re-installed. New CH, SCL . Removed 1/15/08, failed cable.
| 2008-02-14 | 1200 | [5 empty] | 3.323 |  | SWS MDVR installed, replaces Sol LGR. New SCL, same CH. Out 5/6/08.
| 2008-05-06 | 1500 | [5 empty] | 3.475 |  | Sol LGR installed, SWS MDVR relocated. New SCL. Removed 1/12/10.
LAROw | 2003-03-10 |  | 34.3471 | -106.8594 |  | 1.525 |  |  |  | Well installed. Approx elev. at CH 1435 m.
| 2003-04-16 | 1500 |  |  |  | 1.605 |  | 3.66 |  | Solinst LGR installed, new CH. Removed 4/20/05.
| 2005-04-21 | 1100 | [5 empty] | 3.64 |  | Solinst LGR re-installed. New SCL . Removed 1/12/10.
LAROs | 2003-03-06 |  | 34.3468 | -106.859 |  | 1.525 |  |  |  | Well installed. Approx elev. at CH 1435 m.
| 2003-09-10 | 1100 |  |  |  | 1.615 |  | 3.495 |  | Solinst LGR installed, new CH. Removed 1/30/06.
ALF well not surveyed. Use data for relative water table fluctuations
only. GPS data from Garmin GPS III Plus, collected 4/27/06, WGS84.
GPS data not post-processed.
ALF | 2006-10-23 |  | 34.2408 | -106.9043 |  | 0.253 |  | 4.67 |  | Well installed. Approx. elev at CH: 1423 m.
| 2006-10-27 | 1500 | [7 empty] | Watloo DVR installed. Removed 5/25/07, well damaged 5/22 farm (mach).
| 2007-06-12 | 1100 |  |  |  | 0.996 |  | 5.342 |  | Watloo DVR installed. Well casing rebuilt, new CH, SCL. Remvd 11/12/08.

## info
Survey elevation and GPS Data collected and processed by UNM PhD student D. McDonnell, Feb-Mar 2002, UTM NAD83.
Equipment loaned by University NAVSTAR Consortium (UNAVCO), Boulder, CO.
Equipment used:
Trimble 4000 Receiver Systems (2) $24,000
Trimble 4700 Reciever System (1) $8,000
Trimble Removable Groundplane Antennas (3) $9,000
TSC-1 Controller (1) $5,000
Misc. ancillary equipment $1,000
Elevations include top of well casing at time of survey.
SCL = sensor cable length, from top of well casing to pressure sensor.

## more info
Well data collected at 30 minute intervals, some during growing season (4/1--11/15), others all year.
Well data are post-processed from calibration w/beeper using average or linearly correcting offsets via FORTRAN or SAS programs.
Solinst pressure transducer data are first corrected for barometric pressure from tower data on-site.
Estimated data are from missing or bad data, post-processed. Excludes non-processed missing data.
Estimates are made from average rates of the well in question or from other wells on site, and by linear regressions with other wells.
Estimated data for a single well is the percent estimated within the possible data set, i.e, # days * 48 minus missing data within the time series.
Example: One complete day of sampling at 30 minute intervals = 48 possible data points.
If 4 data points were missing and were not processed, 8.3% (4/48) of the data are missing.
Of the 44 remaining data points, if 8 were estimated, 18.2% (8/44) of the data are estimated.
Estimated data for a site is the percent estimated from all applicable wells.
Example: c well has 35 of 10972 data pts estimated (20 of 10992 missing), e well has 2692 of 10945 pts estimated, and s well has 2415 of
10972 pts estimated. Percent est data for each well is 0.32, 24.6, and 22.0 %, respectively. The percent estimated for the site is the sum of the
estimates from each well divided by the total possible pts in the time series (n = 32889), and the percent estimated data would be 15.63%.
Missing data are data within the time series that were not post-processed or estimated.
Site growing season average values include only those values when all applicable site wells are simultaneously on-line.
This is calculated in the percent missing data for site averages, in each site's avg file, not included here.
Example:
time | well 1 | well 2 | well 3 | avg | well 1 | 0% missing data.
12:00 | 150.5 | 162.2 | 149.8 | 154.1667 | well 2 | 29% missing data.
12:30 | 150.3 | 162.4 |  |  | well 3 | 29% missing data
13:00 | 150.7 |  | 149.6 |  | avg | 57% missing data, time series 43% complete for site mean value.
13:30 | 150.8 |  | 149.5
14:00 | 151.2 | 162.3
14:30 | 151.1 | 162.7 | 149.7 | 154.5
15:00 | 150.9 | 162.4 | 149.5 | 154.2667
Percent missing data for individual wells is simply the amount missing within its time series.

## deg + dec-min
site | lat | lon | Dec-min-sec | Dec-min | Lat (deg + dec-min) | Lon positive | Dec-min-sec | Dec-min | Lon (deg + dec-min)
SHKc | 34.9588 | -106.6828 | 0.95877 | 57.5263 | 34 57.52625 | 106.6828 | 0.68285 | 40.9709 | -106 40.97088
SHKn | 34.9591 | -106.6828 | 0.95913 | 57.5479 | 34 57.54786 | 106.6828 | 0.68281 | 40.9688 | -106 40.96878
SHKe | 34.9587 | -106.6824 | 0.95874 | 57.5245 | 34 57.52446 | 106.6824 | 0.68245 | 40.9469 | -106 40.94688
SHKw | 34.9588 | -106.6833 | 0.95883 | 57.5297 | 34 57.52968 | 106.6833 | 0.68329 | 40.9972 | -106 40.99722
SHKs | 34.9584 | -106.683 | 0.95844 | 57.5061 | 34 57.50610 | 106.683 | 0.68299 | 40.9792 | -106 40.97916
SEVc | 34.2656 | -106.8678 | 0.2656 | 15.9361 | 34 15.93612 | 106.8678 | 0.86776 | 52.0657 | -106 52.06566
SEVn | 34.2659 | -106.8677 | 0.26594 | 15.9562 | 34 15.95622 | 106.8677 | 0.86769 | 52.0612 | -106 52.06122
SEVe | 34.2655 | -106.8674 | 0.26551 | 15.9305 | 34 15.93054 | 106.8674 | 0.86736 | 52.0418 | -106 52.04178
SEVw | 34.2657 | -106.8682 | 0.26565 | 15.9392 | 34 15.93924 | 106.8682 | 0.86817 | 52.0904 | -106 52.09044
SEVs | 34.2653 | -106.8679 | 0.26526 | 15.9153 | 34 15.91530 | 106.8679 | 0.86785 | 52.0711 | -106 52.07106
BDASc | 33.7811 | -106.8772 | 0.78113 | 46.8677 | 33 46.86774 | 106.8772 | 0.87722 | 52.6335 | -106 52.6335
BDASn | 33.7815 | -106.8771 | 0.78147 | 46.8882 | 33 46.88820 | 106.8771 | 0.87712 | 52.627 | -106 52.62696
BDASe | 33.781 | -106.8768 | 0.781 | 46.8601 | 33 46.86006 | 106.8768 | 0.87682 | 52.609 | -106 52.60896
BDASw | 33.7813 | -106.8776 | 0.78126 | 46.8755 | 33 46.87548 | 106.8776 | 0.87763 | 52.6576 | -106 52.65762
BDASs | 33.7808 | -106.8773 | 0.7808 | 46.8479 | 33 46.84788 | 106.8773 | 0.87734 | 52.6406 | -106 52.64064
BLNc | 34.5901 | -106.7492 | 0.59013 | 35.4075 | 34 35.40750 | 106.7492 | 0.7492 | 44.9519 | -106 44.95188
BLNn | 34.5905 | -106.7491 | 0.59045 | 35.4273 | 34 35.42730 | 106.7491 | 0.74915 | 44.9488 | -106 44.94882
BLNe | 34.5901 | -106.7488 | 0.59008 | 35.405 | 34 35.40498 | 106.7488 | 0.74876 | 44.9253 | -106 44.92530
BLNw | 34.5902 | -106.7497 | 0.59018 | 35.4108 | 34 35.41080 | 106.7497 | 0.74972 | 44.9835 | -106 44.98350
BLNs | 34.5898 | -106.7493 | 0.58976 | 35.3854 | 34 35.38536 | 106.7493 | 0.7493 | 44.9581 | -106 44.95806
RGNCc | 35.1268 | -106.6884 | 0.12675 | 7.605 | 35 7.60500 | 106.6884 | 0.68843 | 41.3059 | -106 41.30592
RGNCn | 35.1271 | -106.6882 | 0.12706 | 7.6237 | 35 7.62366 | 106.6882 | 0.68824 | 41.2944 | -106 41.29440
RGNCe | 35.1266 | -106.688 | 0.12658 | 7.5946 | 35 7.59456 | 106.688 | 0.68804 | 41.2823 | -106 41.28234
RGNCw | 35.1269 | -106.6888 | 0.12689 | 7.6136 | 35 7.61364 | 106.6888 | 0.68883 | 41.3297 | -106 41.32968
RGNCs | 35.1264 | -106.6887 | 0.12642 | 7.5853 | 35 7.58526 | 106.6887 | 0.68866 | 41.3196 | -106 41.31960
LLc | 34.8124 | -106.7145 | 0.81237 | 48.7421 | 34 48.74208 | 106.7145 | 0.71446 | 42.8674 | -106 42.86742
LLn | 34.8127 | -106.7143 | 0.81268 | 48.7606 | 34 48.76062 | 106.7143 | 0.71425 | 42.8551 | -106 42.85506
LLe | 34.8122 | -106.7141 | 0.81222 | 48.733 | 34 48.73302 | 106.7141 | 0.71408 | 42.845 | -106 42.84498
LLw | 34.8125 | -106.7149 | 0.8125 | 48.7498 | 34 48.74976 | 106.7149 | 0.71486 | 42.8918 | -106 42.89178
LLs | 34.812 | -106.7147 | 0.812 | 48.7202 | 34 48.72018 | 106.7147 | 0.71471 | 42.8828 | -106 42.88284
BDOc | 34.4061 | -106.8031 | 0.40609 | 24.3656 | 34 24.36558 | 106.8031 | 0.8031 | 48.1859 | -106 48.18588
BDOn | 34.4065 | -106.8032 | 0.40647 | 24.3882 | 34 24.38820 | 106.8032 | 0.8032 | 48.1918 | -106 48.19182
BDOe | 34.4062 | -106.8027 | 0.40616 | 24.3697 | 34 24.36966 | 106.8027 | 0.80268 | 48.1611 | -106 48.16110
BDOw | 34.406 | -106.8035 | 0.40597 | 24.3584 | 34 24.35844 | 106.8035 | 0.80348 | 48.2085 | -106 48.20850
BDOs | 34.4057 | -106.803 | 0.40575 | 24.3447 | 34 24.34470 | 106.803 | 0.80302 | 48.1809 | -106 48.18090
BDANc | 33.7916 | -106.8745 | 0.7916 | 47.4961 | 33 47.49606 | 106.8745 | 0.87448 | 52.469 | -106 52.46898
BDANn | 33.7919 | -106.8744 | 0.79194 | 47.5162 | 33 47.51616 | 106.8744 | 0.87438 | 52.4625 | -106 52.46250
BDANe | 33.7916 | -106.8741 | 0.79155 | 47.4931 | 33 47.49306 | 106.8741 | 0.87407 | 52.4442 | -106 52.44420
BDANw | 33.7916 | -106.8749 | 0.79163 | 47.498 | 33 47.49798 | 106.8749 | 0.87489 | 52.4936 | -106 52.49358
BDANs | 33.7912 | -106.8745 | 0.79124 | 47.4746 | 33 47.47464 | 106.8745 | 0.87455 | 52.4728 | -106 52.47276